## Slide 1
Coaxial BNC 50 Ohm
USB
NI-DAQ Breakout Board 2
Behavior PC
position feedback
Arduino UNO Rev4 Minima
Zaber X-Series Shield
Arduino Proto Shield
Zaber XY-Stage
In/out signal
Stimulus selector
Button 1
Button 2
Position Calibration
Signal Overview:
Computer
0V (out)
5V (stimulus 2)
0V (out)
5V (in)
0V (stimulus 2)
5V (stimulus 1)
2.5V (stimulus 1)
DrosoMenuPro
NI-DAQ Breakout Board 2
Arduino IDE programming micro code
Note:
Alrernatively, the Arduino can be programmed to be controlled via serial communication for closed loop experiments.